## Slide 1: October 2021 Virtual ECI Tool Belt Training
October 13, 2021, 9:00 am – 11:00 am

## Slide 2: Theodore Higgins
Chief Environmental Compliance Inspector I City of Los Angeles / LA Sanitation & Environment / Industrial Waste Management Division
Notes: Please DON’T put speakers agency logo on the slide. It will not look good.

## Slide 3: P3S Conference 2022 LONG BEACH
Monday January 31 – Wednesday, February 2, 2022
Hyatt Regency Long Beach

## Slide 4: Call for Proposals
Due Today – October 13th

## Slide 5: Call for Nominations
FACILITY OF THE YEAR AWARDS NORTH AND SOUTH FACILITIES
awards.cwea.org

## Slide 6: Learn more at awtoperator.org
Notes: Learn more about the new Advanced Water Treatment Operator Certification program
At awtoperator.org

## Slide 7
Slides/Handouts Can Be Found on OWEN under the Handouts Tab

## Slide 8
CWEA, its Board members and
volunteers are not responsible for the
actions of speakers or the content of their
sessions. No endorsement is implied or
given of any persons or their philosophies,
ideas or statements; nor of any products
or processes; nor of any organizations
or companies who volunteer to serve as
speakers in educational programs.

## Slide 9: Jeremy Grant
Environmental Compliance Supervisor
Ventura Water
Notes: Please DON’T put speakers agency logo on the slide. It will not look good.

## Slide 10
Ventura Water
Real-Time Collection System Monitoring and
Enhanced Source Control for Potable Reuse
Environmental Compliance Supervisor
Jeremy Grant
Sr. Environmental Compliance Inspector
Baylie Martinez
Environmental Compliance Inspector
Jason Wong

## Slide 11
It is time to transition to Enhanced Source Control for Potable Reuse
A California State Water Resources Control Board Expert Panel has identified source control as one of six key areas needing increased focus for potable reuse (Olivieri et al., 2016).
A critical next step in the evolution of enhanced source control is developing the ability to monitor the water quality within the wastewater collection system in real time.

## Slide 12
WRF-17-30/4908 October 8, 2018 – June 12, 2019
Demonstrating Real-Time Collection System Monitoring for Potable Reuse
Project Description
Deploy a sensor network consisting of three sensor stations in the collection system to monitor pH, electrical conductivity (EC), oxidation-reduction potential (ORP) and temperature. Collect grab samples to define “baseline” conditions. Thresholds on sensor signals were then set to trigger automated collection of grab samples for confirming laboratory analysis.
Ventura’s goal for this study was to evaluate the potential of sensor-based real-time collection system monitoring as a part of enhanced source control for potential inclusion in the new ESCP for VenturaWaterPure.

## Slide 13
Study Focus Area

## Slide 14
“Control Room” Page of Ventura System in Kando Web Interface

## Slide 15
Notes: .

## Slide 16
We had three Kando monitoring stations consisting of two sensor probes, a data logger with antenna for data transmission via the cellular network, and an automated sampler.
Data is recorded in the loggers and transmitted to the cloud for storage and web-based display to users and Kando staff.

## Slide 17
VWRF
Most of our industrial and commercial dischargers are located in sewersheds P, Y, and R.

## Slide 18
Initial location of the Kando Monitoring Stations

## Slide 19
Field installation of Kando monitoring station

## Slide 20
The sensors are inserted into an egg-shaped weight with holes drilled through the middle. It is designed so the sensors protrude through the bottom. The weight is suspended over the trough so that the sensors are continuously submerged in the wastewater. This could be problematic if the flow is too fast or too slow.
The wires send the sensor readings (pH, EC, ORP, Temp) to a splitter and then the data logger which communicates with 4G cell towers via the antenna pictured in the foreground.

## Slide 21
pH
EC
After installation of the sensors, the data loggers began recording data. This data is used to establish a baseline of pollutant levels. Once a baseline is established, any subsequent deviation from the baseline is considered a pollutant “event” . A regular consistent spike in Electrical Conductivity (EC) from background 2,500 uS/CM to a peak of 6,000 uS/CM or higher was observed daily at the S. Palma monitoring station.

## Slide 22
67%
33%
2%
The Kando system uses a proprietary algorithm to track correlations between pollution events. The pollution tracking system calculated that 67% of the pollution events (EC) were observed in the S. Palma manhole.

## Slide 23
Data graph for the manhole named “S. Palma” showing the EC signal (blue) and “Pollution Index” (green/orange/red). ORP, temperature, and pH can also be shown but are turned off.

## Slide 24
Three rounds of grab samples were collected at sensor station locations to determine baseline conditions. Triggered autosampler events could then be compared to the baseline data.

## Slide 26
1/25/19 – Pollution “event” autosampler lab analysis results: TDS – 3,576 mg/L, Chloride – 1, 440 mg/L
An exceedance of 6100 uS/cm triggers the autosampler to collect a sample

## Slide 27
1st location 10/8/18 - 1/29/19 Bristol, S. Palma, N. Palma
2nd location 1/29/19 - 2/26/19 S. Palma, Topa Topa, Sperry
3rd Location 2/26/19 - 3/28/19 Sperry, Walker, Saratoga
VWRF
Phase I Sensor Network Locations October 8, 2019 – March 28, 2019

## Slide 28
February 27 & 28, 2019
This is what we saw after we moved the sensor stations.
EC spikes are observed at Walker and Sperry around the same time in the early morning.
Walker
Sperry

## Slide 29
The culprit is identified!
Daily brine discharge from regeneration of water softening units from 125 triplex residential units flows downstream through the Walker sensor station.
Walker Monitoring Station

## Slide 30
The high online EC readings were verified by collection of triggered samples. Samples collected from S. Palma that correspond to the regularly observed early-morning EC spike (1/23/2019 and 1/25/2019) deviate from the baseline samples most strikingly through high TDS (> 3,000mg/L compared to < 2,000 mg/L at baseline) and high chlorides (>1,000 mg/L compared to <200 mg/L at baseline), which is consistent with the contents of brine discharges from water softeners.

## Slide 31
Challenges?

## Slide 32
Rags were our nemesis!

## Slide 33
Moisture and corrosion caused improper sensor readings and malfunctions.

## Slide 34
We are having technical difficulties!

## Slide 35
Pros
Successful demonstration of “proof of concept”
Confirmed good compliance for phases 2 & 3
Management software and phone app were very helpful and easy to navigate
Cons
A lot more maintenance that initially intended
Sample collection was not reliable
Need to improve sensor fouling and malfunctions
Project cost were substantial, ~$10,000.00 in staff time over 9-month period, cost of hardware?
Could not use the S:can photolyser UV sensor
Final Conclusions
We thoroughly enjoyed participating in this project and are very exciting to see how this technology improves in the coming years. Our overall thoughts on this technology is that additional work is needed before wide-spread implementation of real-time collection system monitoring could be used as a “Best Management Practice”.

## Slide 36
WHY IMPLEMENT ENHANCED SOURCE CONTROL PROGRAM (ESCP)?
Enhanced source control requirements triggered by Ventura Water Pure Project
Plan to create sustainable potable water supply through the construction of advanced water purification facility and groundwater injection
  Ground Water Replenishment Reuse Project (GRRP)
  Triggers Title 22 Code of Regulations ESCP requirements
  Section 60320.206 – Wastewater Source Control

## Slide 37: ESCP PROGRAM REQUIREMENTS
ESCP requirements for recycled water are defined in the California Code of Regulations Section 60320.206 (DDW, 2018b)
Minimum requirements include:
1. An assessment of the fate of chemicals and contaminants that are specified by the DDW and the Regional Water Quality Control Board (RWQCB)
2. Chemical and contaminant source investigations and monitoring that focuses on DDW specified and RWQCB-specified chemicals and contaminants
3. An outreach program to industrial, commercial, and residential communities within the agency’s service area for the purpose of managing and minimizing the discharge of chemicals and contaminants at the source
4. A current inventory of chemicals and contaminants, including new chemicals and contaminants resulting from new sources or changes to existing sources
5. Is compliant with the effluent limits established in the agency’s RWQCB permit
Do you have a plan for how you will implement Enhanced Source Control for Potable Reuse?

## Slide 38: PROPOSED ESCP PLAN
Point of Responsibility: Source Control Program Manager
Expanding Upon the Existing Source Control Program, include 3 new aggressive monitoring programs:
  Purified effluent monitoring
  Secondary effluent monitoring
  Monitoring of four main trunks within the collection system.

## Slide 39: SOURCE MAPPING & RESPONSE PLAN
Industrial/ Commercial Sources:
Locations are identified
Samples taken from several locations - upstream, downstream, onsite and adjacent to suspected violators.
If unacceptable concentrations of contaminants are found, action identical to current enforcement efforts by the City should be taken, Can include:
  Cease-and-Desist discharge
  NOV
  Suspension of Industrial Waste Discharge Permit
Residential Sources:
Contaminant of concerns
  Difficult to pinpoint which house is causing the violations
Heavy emphasis put on household outreach and education.
Additionally, the City provides a hazardous waste disposal program for medications, pesticides, and other hazardous waste items
This Photo by Unknown Author is licensed under CC BY-SA

## Slide 40: CECs are defined by SWRCB (2018, draft) as constituents in:
•Personal care products
•Pharmaceuticals
•Antimicrobials
•Industrial
•Agricultural
•Household products
•Naturally occurring hormones
•Food additives
•Transformation products
•Inorganic constituents
•Microplastics
•Nanomaterials

## Slide 41: CEC MONITORING Excerpt from SWRCB Recycled Water Policy Effective April 8, 2018

## Slide 42: HOSPITAL DISCHARGE PROGRAM
Hospital waste discharge monitoring is not currently required by the National Pretreatment Program, however The City samples for all constituents within its sector sampling program, as well as 29 additional hospital-related CECs at one hospital sites.
City is pursuing CEC sampling at an additional hospital site.
This Photo by Unknown Author is licensed under CC BY-SA

## Slide 43: CURRENT RESIDENTIAL OUTREACH
Focused on increased awareness of current programs for proper hazardous waste, with a major focus on pharmaceuticals
Education conducted at outreach events and through partnering with Ventura Water communications team to better utilize social media to spread information
  ESCP outreach easily pairs with Ventura Water’s Water Conservation education efforts

## Slide 45: RAGS, 3 P’S AND SENSORS
Source Control staff has kept an eye out for “piggy-back” outreach opportunities throughout the city
During COVID-19 crises staff created a “3 P’s” video to educate the public about the harmful effects of rags, wipes, and other problematic products that were being sent down the drain due to a toilet paper shortage
This not only helped the city with its COVID-19 related outreach needs but also allowed staff the added benefit of spreading ESCP information
Education against rages and wipes is also beneficial for ESCP due to the ability of rags and wipes to render real-time sensors such as Kando sensors incapable of reading wastewater levels which will be an issue when real-time monitoring is put into effect for ESCP
https://www.youtube.com/watch?v=k1rGLjRB0B4&t=31s

## Slide 47: INDUSTRIAL OUTREACH
Source control staff regularly engages with industry through its existing Industrial Pretreatment program
Cooperation from industrial users (IU’s) will be critical in the success of the ESCP
Maintaining and increasing communication and coordination with IU’s will be main focus of ESCP, along with additional discharge requirements
This Photo by Unknown Author is licensed under CC BY-NC-ND

## Slide 49: Anne-li Steutel-Maron
US Business Development & Marketing Strategist
Kando
Notes: Please DON’T put speakers agency logo on the slide. It will not look good.

## Slide 50
CWEA
Oct. 13, 2021
kando.eco

## Slide 51
We are passionate about making a positive impact on people's lives and the environment through improving wastewater quality around the world.
51

## Slide 52
Influent
Resource
Raw Material
52
Change of Perception

## Slide 53
To see the full picture so you can take decision
The Challenge
53

## Slide 54
Traditional Ways of Understanding Networks
Pretreatment program results This graph shows the proportion of events* random sampling finds in key industries.
Petrochemical
4%
Food factories
8%
Metal coating
7%
Slaughterhouses
2%
Chemical & Pharmaceutical
8%
Garages
6%
Hospitality
3%
54

## Slide 55
Wastewater Intelligence
Petrochemical
79%
Food factories
94%
Metal coating
71%
Slaughterhouses
94%
Chemical & Pharmaceutical
76%
Garages
91%
Hospitality
90%
Using real-time data inputs, and live analytics. This graph shows the proportion of events* Sampling Automatically triggered by events
55

## Slide 56
75
150
300
6
4
2
0
Mean Duration of detected events (min)
ISRAEL
Events detected / week
6
Mean duration of events
176.3
Median duration of events
129
ITALY
Events detected / week
3
Mean duration of events
103.2
Median duration of events
24
Number of events detected/week
The Challenge
Influent
Resource
Raw Material
TEXAS
Events detected / week
3
Mean duration of events
2999
Median duration of events
44
56

## Slide 57
Industrial Event Frequency
Harmful events are more common in some industries than others. Below are the event frequencies for some key industries.
50
100
150
200
250
8
7
6
5
4
3
2
1
0
Mean Duration of detected events (min)
Food Factories
Number of events detected/week
Garage
Metal Coating
Slaughterhouse
Petrochemical
Hospitality
Chemical & Pharmaceutical
57

## Slide 58
58

## Slide 59
59

## Slide 60
Seeing everything that happens at the Network
60

## Slide 61
Seeing the Network
Creating a language based on Data
61

## Slide 62
Seeing every point of interest
62

## Slide 63
Collecting the data
IoT unit installed in a manhole
Automatic Sampler
Controller
63

## Slide 64
Collecting the data
Contactless ‘A-Eye’ Organic matter sensors
Submerged chemical condition & flow sensors
Fluoresces reflectometry
Led and Detector channel #2
IP66 aluminium housing
Led and Detector channel #1
64

## Slide 65
Creating a language | from sensor to value
65

## Slide 66
How Do We Impact
01 Planning
02 Data collection Our | Others
03 Planning Analytics Engine Intelligence from Data
04 Software Interface behavioral change
05 Measuring the change
Product strategy Automated process
66

## Slide 67
Challenges
Passive to Active
Sensors to Data
Communication in the organization
67

## Slide 68
The Customer Journey
On Boarding Process
Data review
Samples and Lab result
Upstream detection
Track Sources
01
04
03
02
Adoption
Project Measure shows successes
Project goals positive
Business needs addressed
Client want to expand usage
Kickoff Meeting
Meet the team
Define scope and goals, identify stakeholders and review roll-out plan Discuss timeline, touchpoints, understand expectation
Value Creation
Focus on detected contributors
Best practices for behavioral changes
Expected output: reduced pollution
Client want to expand usage
68

## Slide 69
Empower our clients to take actions based on data and insights, so that they can fulfil their goals and vision.
56%
of monitored factories saw improved quality in terms of intensity and duration, leading to a...
49%
improvement in total wastewater quality
Impact
69

## Slide 70
Water Reuse | El Paso Water
The Challenge
Unseen pollution loads were damaging WWTP’s biological treatment processes, leading to degraded wastewater outputs and permit violations costing ~$100k/year. To implement effective pollution prevention through source control, El Paso Water (EPW) had to identify the unknown illegal dischargers around their network.
Aims
Identify and trace illicit discharges across four focus areas
Value
Locating the source of unpermitted discharges enabled EPW to improve its pretreatment program and increase enforcement. Following sample analysis, EPW had the evidence to fine violators up to $10k.
Our solution enabled EPW’s team to identify discharge patterns and auto-sample events in real time, saving ~30 hours of labor.
70

## Slide 71
WWTP Protection |
North Texas Municipal Water District
The Challenge
In early 2021, NTMWD experienced unexpectedly high levels of ammonia and phosphorous at its Rowlett Creek WWTP. With the pollution disrupting the plant’s treatment processes and impacting discharge quality, NTMWD needed to improve wastewater quality in its collection system.
Aims
Identify pollution events before they reached the WWTP Take automated wastewater samples during events for lab analysis Prioritize areas for further action based on real-world pollution levels
Value
Real-time condition reporting identified several pollution events, with automatic samplers triggered. Lab analysis confirmed high levels of phosphorus and ammonia at key locations in the network. NTMWD estimates $25k/month OPEX savings due to Kando’s solution identifying pollution events before they arrived at Rowlett Creek WWTP.
71

## Slide 72
Wastewater-based Epidemiology | Wastewater intelligence
Wastewater-Based Epidemiology (WBE) Responding to COVID-19
Kando’s solution identifies COVID-19 outbreaks up to four days before people show symptoms.
Kando’s WBE solution combines our market-leading wastewater analysis experience and our partners’ virology expertise. Our service can detect virus outbreaks no matter the varient and pinpoint infection hotspots in the city, supporting effective public health decision-making.
72

## Slide 73
Defining monitoring areas
Factors include:
Demographic information
Network information
Wastewater discharge trends
73

## Slide 74
Focus areas- Zoom in
74

## Slide 75
Automated sampling at optimal locations
How do we plan?
Network GIS
Upstream population
Manhole physical properties
Network trends analysis.
Data gathering units are deployed a key locations to give maximum visibility.
75

## Slide 76
IoT Monitoring Units
Kando’s IOT monitoring units are deployed inside client’s sewers.
76
1. Chemical condition
and flow sensors
3. Automatic sampler
2. Data logger

## Slide 77
Process
Planning
Installation
Sampling
Analysis
Monitoring
01
02
03
04
05
77

## Slide 78
Upstream focus | Planning
It takes just 48 hours to provide targeted analysis of infected areas.
Network GIS Upstream population Manhole physical properties Network trends analysis.
PlaceHolder Image
78
Wastewater flow
Monitoring system location

## Slide 79
Upstream focus | Results
PlaceHolder Image
Kando provides infection profiling for:
Whole districts
City blocks
Individual single street
Single facilities
Residential homes
Hospitals
Prisons
Military bases
University campuses
79

## Slide 80
Ashkelon | Proof of Concept Pilot
Ashkelon Project Goals
Establish if Kando’s technology can pinpoint virus hotspots. Improve our understanding Normalized Viral Load (NVL) patterns in wastewater. Model the outbreak profile in the surveyed area.
Ashkelon Ashkelon basic information:
Population: c.145,000 Area: 47.8km2 Location: Southern Israel, Mediterranean coast
The ideal location:
No known COVID-19 cases in the community. The city’s 200 known cases were contained in a single controlled location (a quarantine hotel).
80

## Slide 81
Pilot design & method | Urban layout and wastewater network
01
Deploy IOT monitoring units at key junctions
02
Set up a focus area around the quarantine hotel
03
Gather wastewater samples across all the monitoring zones
04
Lab partners analyze samples
05
Correlate results against known wastewater profiles
Sewage tratment center
Disease center
Cycle n
Cycle 3
Cycle 2
Cycle 1
81

## Slide 82
Pilot | Deployment overview
24 hours to install IOT monitoring units at 16 key locations:
WWTP: Reference point E, F, G: Routine monitoring point (1/3 of the population each) A, B, C, D: Time of flight & dilution reference points 1,2,3,4: High resolution monitoring points (One drainage basin) Quarantine hotel: Infection pulse reference point Hospital: Reference point
82

## Slide 83
Proof of concept | Early detection in Ashkelon
03.04
05.07
25
20
15
10
5
0
Sewage Monitoring and sampling
Ashkelon
17th - 26th May
Confirmed patients per 10,000 people (Ashkelon)
83

## Slide 84
Preliminary results | Early warning?
Preliminary results Pilot deployment area
Week 1: 17th May
Week 2: 26th May
84

## Slide 85
Pilot | Lessons learned
It takes just 48 hours
Pilot Improved NVL profiling Improved lab analysis Full project cycle methodology - plan, deploy, collect, deliver Scaling best practice Cost breakdown and optimization
85

## Slide 86
Smart WBE focus areas – Zoom in
86

## Slide 87
kando.eco
Anne-li Maron
anne-li@kando.eco
gali@kando.eco
Gali Fux

## Slide 88: Austa Parker
National Reuse Regulations & Policy Lead
Brown & Caldwell
Notes: Please DON’T put speakers agency logo on the slide. It will not look good.

## Slide 89: Overview of Enhanced Source Control Research and Criteria for DPR
CWEA ECI Toolbelt Training – DPR and Enhanced Source Control
Austa Parker, PhD
October 13, 2021

## Slide 90: Agenda
Quick definitions
Summary of Draft criteria for enhanced source control for DPR projects
Continuing research topics for enhanced source control for DPR

## Slide 91: What happens here matters here
Collection System
Discharge to environment
Non-potable reuse
Groundwater augmentation
Reservoir water augmentation
Raw water augmentation
Treated water augmentation
WRRF
AWPF

## Slide 92: A few definitions
ESCP
Enhanced Source Control Program
DiPRRA
State Board-specified chemicals and contaminants
Direct potable reuse responsible agency
SB chemicals

## Slide 93: DiPRRA must ensure that the municipal wastewater used to supply a DPR project is from a wastewater agency that:
In compliance with wastewater management agency’s waste discharge requirements
Administers a source control program that limits contaminants in wastewater used in DPR projects (SB chemicals)
Has legal authority to implement an industrial pretreatment and pollutant source control program
Implements and maintains a source control program that contains enhancements
Conducts a risk assessment for SB chemicals
Existing Title 22 requirements for IPR projects
New Draft DPR Criteria

## Slide 94: Minimum source control program requirements for DPR
Implements and maintains a source control program that contains enhancements
Fate assessment of SB chemicals
Investigations & monitoring of SB chemicals
Outreach program limiting chemicals at source
Up-to-date inventory of chemicals identified, including new sources

## Slide 95: DPR Draft Criteria for Source Control
DiPRRA work with wastewater agency to utilize local limits and other discharge control methods
Local limits designed to protect public health and water quality for potable reuse
Source control program must be audited at least every 5 years
Joint Plan (DiPRRA & partner agencies) to implement a sewershed surveillance program
Formation of a source control committee
Continuous improvement processes to address all aspects of the ESCP
Notes: Add graphics/icons

## Slide 96: Sewershed surveillance program
Joint Plan (DiPRRA & partner agencies) to implement a sewershed surveillance program
On-line monitoring instrumentation that measures surrogates that may indicate a chemical peak resulting from illicit discharge
Notification by pretreatment program to DiPRRA of any discharge that results in release of contaminants above allowable limits
Monitoring of local county public health disease surveillance programs
Other aspects of surveillance program determined by State Board

## Slide 97: Research Needs Related to ESCP for DPR
Sewer Collection System
Improvement of on-line monitoring tools/sensors
Study operational reliability of in-sewer sensors
Chemical Inventory
Develop database of analytes to indicate out-of-spec discharge
Broader Applications
Development of risk assessment and management framework
Research operating conditions and software configurations for early warning systems
Establish and update register of potentially toxic chemicals removed by WWTPs

## Slide 98: Helpful Resources
8-17-2021 DPR Draft Criteria
NWRI ESCP Recommendations for DPR in CA
WRF 4960 – Completion 2022
WRF 5048 – Completion 2022

## Slide 99: Overview of Enhanced Source Control Research and Criteria for DPR
CWEA ECI Toolbelt Training – DPR and Enhanced Source Control
Austa Parker, PhD
October 13, 2021

## Slide 101: Thank You!
© California Water Environment Association (CWEA)